Improvement Action Plan – Update to the Audit Committee on Fire Safety
Department name	Estates and Facilities		Risk Owner		Julie Harris
Person Completing	Artur Kurczak		Estates Safety Advisor name		Artur Kurczak
Prepared on	05/04/2022		Compliance Level confirmed by Fulkers		93%
Action		Department response		Target Date of Completion		Additional actions planned/ Status update	Date of Completion
Hazard area: Fire Safety
H1
To obtain assurance for the satisfactory to the fire safety standard of properties and/or to have reassurance to the completion of required actions identified in the fire risk assessment by fire assessor.		Fire Risk Assessment has been completed for 100% of the properties		May		Awaiting soft copies of completed FRA / Estates and Facilities to manage all findings identified by the Fire Risk Assessment
To conduct the fire risk assessment for the remaining properties.		Fire Risk Assessment has been completed for 100% of the properties					April
To include review the implementation of fire risk assessment and monitor any comment from the fire risk assessment in the agenda of regular E&F meeting to ensure the completion of fire risk assessment and required follow up action.		This item is included on the E&F Health and Safety meeting to follow up the remedial progress.					April
Ensure findings from monthly inspection re remediated. .		Artur Kurczak prompted Guy and Nick to ensure that all H&S inspections are performed, and all findings identified by our team is actioned / Meeting with Peter Stevens, Julie Harris and Guy Stockton Kennedy is scheduled regarding ownership of this process		May		Meeting with Peter Stevens, Julie Harris and Guy Stockton Kennedy is scheduled regarding ownership of this process
H3 & H10 / Survey/ assessment to assess the requirement of fire-fighting equipment, fire detection systems, emergency lighting etc to be implemented.		Artur Kurczak has asked estates and Facilities to create a fire strategy plan including all buildings within E&S responsibilities. / Artur Kurczak advised that We should have all buildings drawings with a clear indication (location) of Fire Fighting Equipment, Emergency lighting, fire doors (with a fire rating), final fire exits, fire panels etc. Also, all elements such as water and electric gas shut off shall be included. / A clear line of compartmentation should be presented on those drawings. / Following this process, we should create a matrix of inspections for all, e.g. fire doors fire dampers.		Awaiting Estates to confirm an estimated date for updating the data and for approval from Vaughan Williams in regard to the proposed matrix		E&F will need to undertake a formal review of / the firefighting equipment currently in place. This could be / undertaken by a Fire Engineer, who will be able to advise / accordingly, on the type of extinguishers that should be in place.
Fire strategic plan and fire management documents to include the requirement of firefighting equipment, fire detection system, emergency lighting to be approved, distributed and acknowledged by stakeholders.		As above
Location plan of firefighting equipment to be developed.		As above
H5 / Location plan of fire emergency lighting to be developed.		As above