Improvement Action Plan – Update to the Audit Committee on Electrical Safety
Department name	Estates and Facilities		Risk Owner		Julie Harris
Person Completing	Artur Kurczak		Estates Safety Advisor name		Artur Kurczak
Prepared on	05/04/2022		Compliance Level confirmed by Fulkers		100%
Action		Department response		Target Date of Completion		Additional actions planned/ Status update	Date of Completion
Hazard area: Electrical safety
G1 / To approve, distribute and manage acknowledgement by stakeholders of the electrical safety procedure/ safety management plan.		The Electrical Safety Procedure are in the process of final review. When completed it will be held within the Quality Management System (QMS) which will manage distribution and compliance.		April
G2
To complete outstanding fixed wire testing and remediate any findings..		GT maintain the 'Fixed Wire Testing Register' and it is available on Concept Reach. / All findings under C1 and C2 are scheduled for completion / During the Fixed Wire Test, any high-risk actions that are Identified will be immediately reported to GT for action under P1 SLA.				.	April
To include review to the result, performance and follow up to the examination and testing/ the analysis of fixed wire systems in agenda of the monthly operation meeting.		Fixed Wire Testing performance/results have been put on the Estates H&S monthly meeting agenda.					March
G3 / On the day of PAT testing visit, the competent person to strengthen the coordination/communication with departments to ensure equipment require PAT are tested.		Artur Kurczak included this item on to agenda for Estates H&S monthly meeting. / PAT testing procedures have been developed and awaiting final approval.		May
To complete outstanding PAT testing and follow up to comments from test and/or examination.		The process of managing Electrical Safety (PAT) testing is in place. PAT testing is managed by Galliford Try and is scheduled as part of Planned Preventive Maintenance (PPM) / If an item fails, immediate action is taken to disable the item.					April
To include review to the result, performance and follow up to the examination and testing/ analysis of PAT testing in agenda of the monthly operation meeting.		Review of performance is included on the agenda for Estates and Facilities H&S monthly Meeting.					March
G4 / Survey/ risk assessment to be reviewed or conducted to verify the need of lightning protection system at some buildings.		Galliford Try undertaking inspection every 11 months on existing Lightening conductors and update the lightening register accordingly.		May		The necessity of the survey has been discussed with the Estates and Facilities Team during the monthly H&S meeting.
G5 / To use property risk assessment template to review and identify procedure, measures for managing the hazards associated with electricity and implement required control measures.		Property Risk Assessment has been completed				Property Risk Assessment needs to be distributed for acknowledgement	April