___________________________________________________________________

Meeting name: Surrey Audit Committee

Report by: Bosco Chan / Matt Green

Date: April Committee Meeting

Subject: Further Review of CDM2015, Confined Space Safety, Electrical Safety and Fire Safety compliance in Surrey Estates

Security status: Official

___________________________________________________________________

Contents:

4.	Improvement Action Plan ............................................................................... 4
___________________________________________________________________

# Executive Summary

This is a strategic level review of CDM 2015, confined space safety, electrical safety, and fire safety compliance within Surrey Estates.

In this safety review, E&F has shown improvement in CDM 2015 safety, confined space safety, electrical safety, and fire safety since previous safety review. To ensure safety and comply to standard in the 4 areas is achieved, E&F is recommended to strengthen some measures, which are outlined in the attached improvement actions plans.

Estates have also appointed Faulkers to carry out a review of all policies and procedures.
# Findings

Improved levels of compliance is being seen in all areas below.
## CDM 2015 Safety Compliance

Review date	Compliance level	Direction of travel
May 2021	Partially compliant	Increasing compliance
Aug 2021	Partially compliant	Falling compliance
March 2022	Partially compliant	Increasing compliance

## Confined Space Safety Compliance

Review date	Compliance level	Change
May 2021	Partially compliant	Increasing compliance
Aug 2021	Partially compliant	Falling compliance
March 2022	Partially compliant	Increasing compliance

## Electricity Safety Compliance

Review date	Compliance level	Change
June 2019	Near full compliance	Increasing compliance
Mar 2021	Partially compliant	Falling compliance
Aug 2021	Partially compliant	No change
Mar 2022	Partially compliant	Increasing compliance

___________________________________________________________________

## Fire Safety Compliance

Review date	Compliance level	Change
June 2019	Near full compliance	Increasing compliance
Mar 2021	Near full compliance	Falling compliance
Aug 2021	Partially compliant	Falling compliance
March 2022	Partially compliant	Increasing compliance

# Commentary
## Construction, Design and Management Regulations 2015

CDM2015 – since the previous safety review, the implementation of CDM 2015 in project work, which are managed by Galliford Try and directly supervised by E&F has shown significant improvement.

CDM2015 Management Plan and Policy is scheduled to be approved, distributed, and acknowledged by stakeholders by May 2022. Some areas of the management system of CDM 2015 were recommended to be strengthened to ensure the safety and standard is achieved.

In this safety review, based on the description and review to document has been provided by E&F, levels of compliance are improving. However, from the review of the evidence, further documentation is required to verify the compliance level, ie. to achieve compliance in each audit questions, document to prove fully compliance to the audit question is required.

## Confined Space Safety

Since the previous safety review, the management of confined space has shown significant improvement.

Confined Spaces Management Plan is scheduled to be approved, distributed, and acknowledged by stakeholders by March 2022. Confined space survey for identifying and managing the risk from confined spaces and the work inside confined spaces is scheduled to be completed by Mar 2022.

E&F is recommended to clarify with Galliford Try their system and readiness on managing any work inside confined space. Based on the feedback from E&F, there was no work was carried out in confined space area since 2019. ___________________________________________________________________

Remaining work includes checking the confined space survey to verify confined space areas and whether any measures for the risk from confined space work are required.
## Electrical Safety

Since the previous safety review, the implementation of testing for electricity safety has shown improvement. Electrical Safety Procedures are scheduled to be approved, distributed, and acknowledged by stakeholders by May 2022.

Some identified outstanding testing, risk assessment for electricity safety in the safety review needs to be completed. To strengthen the monitoring of testing for electricity safety has been recommended.

Further evidence is due for review to further increase levels of compliance.
## Fire Safety

Fire risk assessment and recommendations within fire risk assessment were identified in the report shall be completed and verified by the fire assessor for assuring the fire safety measures and standard in our properties.

The fire strategic plan and fire management documents to be approved, distributed, and acknowledged by stakeholders. Further clarification is required to verify the testing, inspection of system and equipment for fire safety.

In this safety review, based on the description and review to document have been provided by E&F, the initial compliance level of electricity safety is improving.

4. Appendices (Improvement Action Plans)

To ensure consistency, The Health and Safety Service and Estates have moved to shared controlled action plans. These are attached as appendices 1 to 4.

Appendix 1: Confined Spaces.
Appendix 2: Fire Safety. Appendix 3: Electricity.
Appendix 4: CDM 2015.

REPORT END